## Slide 1: Perturbing, and visualizing cells
Chapter 9

## Slide 2: Visualizing cells
Chapter 9

## Slide 3: Figure 9.32 Schematic overview of a “typical” animal cell (top) and plant cell (bottom) and their major substructures.

## Slide 4
FLUORESCENCE MICROSCOPY

## Slide 5
Absorb light at one wavelength and emit light at a specific and longer wavelength
What is fluorescence?

## Slide 6
Fluorescent colors that are available

## Slide 7: Fluorescence Microscopy
Major Function: Localization of specific cellular molecules – example proteins
Expression of fluorescent proteins – recombinant DNA technology.
Major Advantages:
  Sensitivity:“glow” against dark background
  Specificity: immunofluorescence
  Cells may be fixed or living
Fluorescent dyes or proteins (Flurochromes)
  flurochromes may be indirectly or directly associated with the cellular molecule
  Multiple flurochromes may be used simultaneously

## Slide 8: HYDRA EXPRESSING GFP
Fluorescent protein in live cells
Plasmid containing the GFP gene is driven by the H.vulgaris beta-actin promoter.
GFP – green fluorescent protein ( jelly fish)
Notes: Fura-2

## Slide 9: RECOMBINANT DNA TECHNIQUE TO TAG PROTEINS WITH GFP FOR VISUALIZATION IN LIVING CELLS
Gene of interest X is fused with GFP gene
This recombinant DNA is transfected (introducing foreign DNA into eukaryotic cells) into living cells.
Wait for protein expression
Chimeric fusion protein (Protein X-GFP) can be visualized in living cells
Very useful in studying protein localization.

## Slide 10: Immunofluorescence Microscopy of Specific Proteins in FIXED CELLS
Fluorescently tagged primary anti body
  Commonly used fluorochromes include Texas red, and rhodamine (emit red light), Cy3 (emits orange light), fluorescein (emits green light).
Fluorescently tagged secondary antibody- Indirect Immunofluorescence microscopy
Fluorescently labelled antibody to tagged proteins such as myc or FLAG
Fluorescent dye fura-2 used to monitor Ca2+ concentrations within the cell
SPED (stimulated emission depletion) fluorescence microscopy has a resolution of 20nm.

## Slide 11: RAT INTESTINAL CELL WALL – GLUT 2 Purpose- to visualize the localization of Glucose Transporter 2

## Slide 12: Tagging with fluorescent tags/proteins allows visualization of specific proteins Double-label fluorescence microscopy can visualize the relative distributions of two proteins.

## Slide 13: CONFOCAL AND DECONVOLUTION MICROSCOPY
This overcomes the limitations of Fluorescence microscopy
  Blurred images
  Thick specimens
  CONFOCAL MICROSCOPY
  - Laser as the energy source
  - The laser scans the specimen across and down to build the image
  - Uses a pinhole in front of the detector so light from other focal planes are blocked

## Slide 14: Figure 9.17 Light paths for two types of confocal microscopy.

## Slide 15: REMOVES OUT OF FOCUS IMAGES
Sea Urchin egg undergoing mitosis – using fluorescein-tagged secondary antibody that binds to primary anti-tubulin antibody

## Slide 16: EXAMPLE OF IMAGE RECONSTRUCTED AFTER DECONVOLUTION MICROSCOPY
DNA – blue, Microtubules – green and Actin microfilaments - red

## Slide 17: Fluorescent samples in a restricted focal plane can be imaged by total internal reflection (TIRF) microscopy.
Used for imaging in a thin focal plane

## Slide 18: FRAP shows dynamics of cellular components Fluorescence recovery after photobleaching (FRAP) reveals the dynamics of molecules.

## Slide 19: FRET measures distance between porteins using chromophores Protein-protein interactions can be visualized by FRET.

## Slide 20: FRET biosensors can detect local biochemical environments.

## Slide 21: Super-resolution microscopy can generate light-microscope images with nanometer resolution.
Overcomes resolution limitations of
Fluorescence microscopy .
3-D structure of microtubues
Confocal
Super-resolution
Clathrin-coated pit by super-
resolution

## Slide 22
FIX –Formaldehyde cross links amino groups on adjacent molecules
EMBED – For light microscopy in Paraffin; For electron microscopy in liquid plastic
SECTION – 0.5- 50 micrometers for Light microscopy; 50 -100 nm for electron microscopy
STAIN – Hemotoxylin binds to basic amino acids and eosin binds to acidic molecules
SPECIMEN PREPARATION FOR BOTH LIGHT AND ELECTRON
MICROSCOPY
For Cryo EM, the samples can be frozen without fixation and then sectioned.

## Slide 23: ELECTRON MICROSCOPY

## Slide 24
Transmission EM
  theoretically 0.005 nm; practically 0.1 nm –1 nm (2000x better than LM)
  High – velocity electron beam passes through the sample
  50-100 nm thick sections
  2-D sectional image – surface details are revelaed
  Subcellular organelles
  Samples need to be fixed and stained and so cannot image living cells
  Stained with heavy metals such as uranium, lead, Osmium tetroxide (stains membranes)
Scanning EM
  Resolution about 10 nm
  Used to view unsectioned, metal coated specimens
  3-D surface image

## Slide 25: SURFACE DETAILS BY METAL SHADOWING in TEM

## Slide 26
PLATINUM SHADOWED REPLICA OF THE SUBSTRUCTURAL FIBERS OF CALFSKIN COLLAGEN

## Slide 27: SEM OF EPITHELIUM LINING THE INTESTINAL LUMEN

## Slide 28
GOLD PARTICLES COATED WITH PROTEIN A ARE USED TO DETECT ANTIBODY BOUND TO PROTEIN
Protein A binds to the Fc segment of all antibody molecules

## Slide 29: TEM IMAGE
Purpose: To visualize catalase
Method:
A slice of rat liver fixed with glutaraldehyde, sectioned and then treated to visualize catalase molecules.
Conclusion: Black dots indicate localization of catalase only in peroxisomes.

## Slide 30: CRYOELECTRON MICROSCOPY
HYDRATED, UNFIXED AND UNSTAINED SAMPLES
SAMPLES ARE OBSERVED IN ITS NATIVE HYDRATED STATE
METHOD - AN AQUEOUS SUSPENSION OF SAMPLE IS APLLIED ON A GRID (frozen in liquid nitrogen) AND HELD BY A SPECIAL MOUNT
5 nm RESOLUTION
Variation of this is CRYOELECTRON TOMOGRAPHY. This allows determination of 3D structure .

## Slide 31
Perturbing cells to study organelles

## Slide 32: PURIFICATION OF CELL ORGANELLES
CELL DISRUPTION –in isotonic solution
SEPARATION OF DIFFERENT ORGANELLES USING CENTRIFUGATION
PREPARATION OF PURIFIED ORGANELLES USING SPECIFIC ANTIBODIES

## Slide 33: BREAKING OPEN PLASMA MEMBRANES IN CELLS
CELLS ARE SUSPENDED IN ISOTONIC SUCROSE AFTER
SONICATION
HOMOGENIZATION
CELLS IN HYPOTONIC SOLUTION – RUPTURE OF CELL MEMBRANES

## Slide 34: SEPERATING ORGANELLES
DIFFERENTIAL CENTRIFUGATION
DENSITY GRADIENT CENTRIFUGATION

## Slide 35
DIFFERENTIAL CENTRIFUGATION

## Slide 36: DENSITY GRADIENT CENTRIFUGATION

## Slide 37: PURIFICATION OF ORGANELLE FRACTION USING SPECIFIC ANTIBODIES
CATALASE – PROXISOMES
CYTOCHROME C – MITOCHONDRIA
ACID PHOSPHATASE – LYSOSOMES
The proteins listed above are specific for each organelle. Western blots of protein fractions are probed with antibodies specific to the proteins of interest. Cross contamination of organelle fractions is tested as mentioned in class, by analyzing the western blot results.

## Slide 38: CLASSIC EXPERIMENT 9.1 Figure 1 Graphical representation of the enzyme analysis of products from a sucrose gradient.

## Slide 39: ANTIBODIES ARE USED TO MAKE PURIFIED VESICLES
Antibodies against organelle-specific proteins are used.

## Slide 40
Membrane suspension from Rat liver is incubated with antibody to clathrin.
Staphylococcus Aureus bacterial suspension is added to the mix.
S.Aureus membrane contains Protein A

## Slide 42: Screening for drugs that affect specific biological processes.

## Slide 43
siRNA – methods and analysis

## Slide 44: SMALL INHIBITORY RNA (siRNA) can knock down specific protein expression siRNA or DNA expressing shRNA can target the degradation of specific mRNAs in cultured cells.
RISC – RNA induced silencing complex
Dicer – an RNA endonuclease
that has dicer activity against dsRNA. This cleaves the loop region

## Slide 45: Genomic screens using siRNA RNAi screens can explore the function of all the genes in cultured cells.

## Slide 46: RNAi can be used to suppress genes in a tissue-specific manner in the fruit fly.